## CIRC 01.
CÁLCULO DE QUEDA DE TENSÃO
OBRA: IMPLANTAÇÃO DE SPDA E ILUMINAÇÃO COM REFLETORES LED DE 900W E LUMINÁRIAS LED DE 150W NO ESTÁDIO CARMINATÃO - MUNICÍPIO DE ITAQUIRAÍ - MS
NÚMERO: S/N PRIM. 13,8kV SECUN . 220/127V FP. 0,920
(transformador ou aliment.)
DV%*100=[(Coef.Q.Ten.)*Prod.(A*K)]*100/DV
Trecho | Dist(km) | Pot(W) Inicial | Pot(W) com 10% | Corr(A) Inicial | Corr(A) com 20% | Prod(A*km) | Bitola mm² | Coefic. Queda | Cabos | DV |  | DV%*100 | TOTAL
CARGA TOTAL - 72 REFLETORES LED DE 900W + 14 LUMINÁRIAS LED DE 150W + 20 LAMPADAS BULBO DE 40W
PADRÃO-QDG | 0.02 | 67700 | 67700 | 193.1157 | 231.7388 | 4.6348 | 95 | 0.43 | 60 | 220 | 60 | 0.90589 | 0.90589 | 60 | 6 | 4
QD-POSTE 01 | 0.09 | 10800 | 10800 | 30.8072 | 36.9687 | 3.3272 | 16 | 2.03 | 270 | 220 | 270 | 3.0701 | 3.976 | 270 | #REF! | #REF!
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.6582
QD-POSTE 02 | 0.125 | 10800 | 10800 | 30.8072 | 36.9687 | 4.6211 | 25 | 1.33 | 375 | 220 | 375 | 2.7937 | 3.6995
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.3818
QD-POSTE 03 | 0.16 | 10800 | 10800 | 30.8072 | 36.9687 | 5.915 | 35 | 0.98 | 480 | 220 | 480 | 2.6349 | 3.5407 | 480
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.223
QD-POSTE 04 | 0.09 | 10800 | 10800 | 30.8072 | 36.9687 | 3.3272 | 16 | 2.03 | 270 | 220 | 270 | 3.0701 | 3.976 | 270
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.6582
QD-POSTE 05 | 0.125 | 10800 | 10800 | 30.8072 | 36.9687 | 4.6211 | 25 | 1.33 | 375 | 220 | 375 | 2.7937 | 3.6995
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.3818 | 60
QD-POSTE 06 | 0.16 | 10800 | 10800 | 30.8072 | 36.9687 | 5.915 | 35 | 0.98 | 480 | 220 | 480 | 2.6349 | 3.5407
SUBIDA | 0.02 | 10800 | 10800 | 30.8072 | 36.9687 | 0.73937 | 16 | 2.03 | 60 | 220 | 60 | 0.68224 | 4.223
QD-POSTE A | 0.03 | 1050 | 1050 | 5.1877 | 6.2253 | 0.18676 | 4 | 7.79 | 90 | 220 | 90 | 0.6613 | 1.5672
QD-POSTE B | 0.032 | 900 | 900 | 4.4466 | 5.336 | 0.17075 | 4 | 7.79 | 96 | 220 | 96 | 0.60461 | 2.1718
QD-POSTE C | 0.035 | 750 | 750 | 3.7055 | 4.4466 | 0.15563 | 4 | 7.79 | 105 | 220 | 105 | 0.55108 | 2.7229
QD-POSTE D | 0.035 | 600 | 600 | 2.9644 | 3.5573 | 0.12451 | 4 | 7.79 | 105 | 220 | 105 | 0.44086 | 3.1637
QD-POSTE E | 0.035 | 450 | 450 | 2.2233 | 2.668 | 0.093379 | 4 | 7.79 | 105 | 220 | 105 | 0.33065 | 3.4944
QD-POSTE F | 0.035 | 300 | 300 | 1.4822 | 1.7787 | 0.062253 | 4 | 7.79 | 105 | 220 | 105 | 0.22043 | 3.7148
QD-POSTE G | 0.035 | 150 | 150 | 0.74111 | 0.88933 | 0.031126 | 4 | 7.79 | 105 | 220 | 105 | 0.11022 | 3.825
QD-POSTE H | 0.03 | 1050 | 1050 | 5.1877 | 6.2253 | 0.18676 | 4 | 7.79 | 90 | 220 | 90 | 0.6613 | 1.5672
QD-POSTE I | 0.032 | 900 | 900 | 4.4466 | 5.336 | 0.17075 | 4 | 7.79 | 96 | 220 | 96 | 0.60461 | 2.1718
QD-POSTE J | 0.035 | 750 | 750 | 3.7055 | 4.4466 | 0.15563 | 4 | 7.79 | 105 | 220 | 105 | 0.55108 | 2.7229
QD-POSTE L | 0.035 | 600 | 600 | 2.9644 | 3.5573 | 0.12451 | 4 | 7.79 | 105 | 220 | 105 | 0.44086 | 3.1637
QD-POSTE M | 0.035 | 450 | 450 | 2.2233 | 2.668 | 0.093379 | 4 | 7.79 | 105 | 220 | 105 | 0.33065 | 3.4944
QD-POSTE N | 0.035 | 300 | 300 | 1.4822 | 1.7787 | 0.062253 | 4 | 7.79 | 105 | 220 | 105 | 0.22043 | 3.7148
QD-POSTE O | 0.035 | 150 | 150 | 0.74111 | 0.88933 | 0.031126 | 4 | 7.79 | 105 | 220 | 105 | 0.11022 | 3.825

## Quant. Condutores e eletrodutos
CABO | Queda de tensão em V/A km fp 0,95 trifásico
#95 | 0.43 |  |  |  | Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm² |  | Cond. #4mm²
#70 | 0.55 |  |  |  |  | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
#50 | 0.76 |  |  |  | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 0 | 320 | 0 | 250 | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 474
#35 | 0.98 |  |  |  | PADRÃO-QDG | 20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#25 | 1.33 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#16 | 2.03 |  |  |  | QD-POSTE 01 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 90 |  | 0 |  | 0 |  | 0
#10 | 3.17 |  |  |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
#6 | 5.25 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#4 | 7.79 |  |  |  | QD-POSTE 02 | 0 |  | 0 |  | 0 |  | 0 |  | 125 |  | 0 |  | 0 |  | 0 |  | 0
#2,5 | 12.4 |  |  |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
CABO | 1 cond. (m) | 2 cond. (m) | 3 cond. (m) |  | QD-POSTE 03 | 0 |  | 0 |  | 0 |  | 160 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 95 | 21 | 42 | 63 |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
cabo 70 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 50 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 35 | 336 | 672 | 1008 |  | QD-POSTE 04 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 90 |  | 0 |  | 0 |  | 0
cabo 25 | 262.5 | 525 | 787.5 |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
cabo 16 | 315 | 630 | 945 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 10 | 0 | 0 | 0 |  | QD-POSTE 05 | 0 |  | 0 |  | 0 |  | 0 |  | 125 |  | 0 |  | 0 |  | 0 |  | 0
cabo 6 | 0 | 0 | 0 |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
cabo 4 | 497.7 | 995.4 | 1493.1 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Subida dos Postes (m) |  |  |  |  | QD-POSTE 06 | 0 |  | 0 |  | 0 |  | 160 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
cabo 4 | 207.9 |  |  |  | SUBIDA | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 0 |  | 0 |  | 0
cabo 2,5 | 138.6 |  |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Eletrodutos |  | comp. (m) | barras de 6m | de #6 a #16 - 1 1/4'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto FG 1 1/4'' | 26 | 27.3 | 5 | de #25 a #35 - 1 1/2'' | QD-POSTE A | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
eletroduto FG 1 1/2'' | 10.95 | 11.4975 | 2 | de #50 a #70 - 2'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 1454
eletroduto FG 2'' |  | 0 | 0 | de #6 a #16 - 1 1/4'' | QD-POSTE B | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 32
eletroduto PVC 1 1/4'' | 245 | 257.25 |  | de #25 a #35 - 1 1/2'' | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
eletroduto PVC 1 1/2'' |  | 0 |  | de #50 a #70 - 2'' | QD-POSTE C | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
eletroduto PVC 2'' |  | 0 |  |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
total em escavação | 281.95 |  |  |  | QD-POSTE D | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
Proteção e comando |  |  |  | Pot. (W) | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
| corrente 20% | Valor de M. |  | 0 | QD-POSTE E | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
Corrente Max. (A) | 232 |  | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
disjuntor | 278.4 | 32A | trifásico |  | QD-POSTE F | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
contator | 324.8 | 38A | trifásico |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Fus. NH retaredado | 232 | 25A | NH00 |  | QD-POSTE G | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE H | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE I | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 32
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE J | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE L | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE M | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE N | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE O | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 35
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE G | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE H | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
[5 empty] | QD-POSTE I | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## Plan1
Trechos | Cond. #95mm² |  | Cond. #70mm² |  | Cond. #50mm² |  | Cond. #35mm² |  | Cond. #25mm² |  | Cond. #16mm² |  | Cond. #10mm² |  | Cond. #6mm²
| comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total | comp. (m) | total
0 | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF! | 0 | #REF!
PADRÃO-QDG | 20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QD-POSTE 01 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QD-POSTE 02 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QD-POSTE 03 | 0 |  | 0 |  | 0 |  | 160 |  | 0 |  | 0 |  | 0 |  | #REF!
QD-POSTE 04 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
QD-POSTE 05 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | 0
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!
#REF! | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF! |  | #REF!